Red AC/DC12V 16mm AD16-16SM LED Signal Indicator Built-in Buzzer

Specification

Product Name：Flashing buzzer

Brightness: ≥100CD/M²

Color: red

Continuous operation: ≥30000h

Voltage: DC 12V

Insulation resistance: ≥2mQ

Frequency withstand voltage: 2.5KV1min

Material: Flame retardant shell

Light-emitting type: LED light source

Certification: 3C certification

Dimensional drawings